## buildings
ueu_case | building_id | tabula_building_type | construction_period | net_floor_area | number_of_residents | number_of_apartments | electricity_demand_abs_no_ev | electricity_demand_abs_yes_ev | dhw_heat_demand_abs | heating_demand_abs_no_refurbishment | heating_demand_abs_advanced_refurbishment | pv_potential_per_area_kwh_m2a | electricity_demand_per_area_no_ev_kwh_m2a | electricity_demand_per_area_yes_ev_kwh_m2a | dhw_heat_demand_per_area_kwh_m2a | heating_demand_per_area_no_refurbishment_kwh_m2a | heating_demand_per_area_advanced_refurbishment_kwh_m2a | yearly_heating_demand_per_area_no_refurbishment_kwh_m2a | yearly_heating_demand_per_area_advanced_refurbishment_kwh_m2a | pv_potential_abs | peak_electricity_abs_no_ev | peak_electricity_abs_yes_ev | peak_dhw_abs | peak_heating_abs_no_refurbishment | peak_heating_abs_advanced_refurbishment | peak_pv_potential_abs | peak_electricity_per_area_no_ev_kw_m2 | peak_electricity_per_area_yes_ev_kw_m2 | peak_dhw_per_area_kw_m2 | peak_heating_per_area_no_refurbishment_kw_m2 | peak_heating_per_area_advanced_refurbishment_kw_m2 | peak_pv_potential_per_area_kw_m2
processed_bds_in_DENI03403000SEC4580 | DENILD1100000iDj | MFH | tabula_class_05_year_1960 | 369.6822 | 6 | 3 | 7184.11 | 14384.0103 | 5847.1378 | 83024.7535 | 17832.2049 | 45.8626 | 19.4332 | 38.9091 | 15.8167 | 224.5841 | 48.2366 | 224.5841 | 48.2366 | 16954.5812 | 7.4847 | 13.7252 | 7.5472 | 34.1399 | 10.5284 | 12.9854 | 0.020246 | 0.037127 | 0.020415 | 0.092349 | 0.02848 | 0.035126
processed_bds_in_DENI03403000SEC4580 | DENILD1100000jvM | MFH | tabula_class_05_year_1960 | 541.7011 | 0 | 4 | 4935.8873 | 11416.8083 | 4748.8719 | 110561.0014 | 25572.4396 | 32.2824 | 9.1118 | 21.0758 | 8.7666 | 204.0996 | 47.2077 | 204.0996 | 47.2077 | 17487.4344 | 6.1886 | 14.4318 | 7.5472 | 44.9587 | 14.3302 | 14.1523 | 0.011424 | 0.026642 | 0.013932 | 0.082995 | 0.026454 | 0.026126
processed_bds_in_DENI03403000SEC4580 | DENILD1100000kTR | MFH | tabula_class_05_year_1960 | 606.0582 | 5 | 4 | 5751.3332 | 13207.8816 | 5687.8479 | 118603.9758 | 27128.825 | 49.6611 | 9.4897 | 21.7931 | 9.385 | 195.6973 | 44.7627 | 195.6973 | 44.7627 | 30097.5138 | 5.8679 | 16.0706 | 8.926 | 48.482 | 15.413 | 23.5503 | 0.009682 | 0.026517 | 0.014728 | 0.079996 | 0.025431 | 0.038858
processed_bds_in_DENI03403000SEC4580 | DENILD1100000kvB | MFH | tabula_class_05_year_1960 | 480.1865 | 4 | 4 | 5093.6933 | 11746.9734 | 4730.0038 | 100126.6953 | 22133.2736 | 46.9677 | 10.6077 | 24.4634 | 9.8503 | 208.5163 | 46.0931 | 208.5163 | 46.0931 | 22553.2725 | 5.7282 | 15.3045 | 8.1278 | 41.0829 | 12.8379 | 15.564 | 0.011929 | 0.031872 | 0.016926 | 0.085556 | 0.026735 | 0.032412
processed_bds_in_DENI03403000SEC4580 | DENILD1100000l0F | MFH | tabula_class_05_year_1960 | 407.7053 | 6 | 3 | 6189.8933 | 8670.5286 | 5112.8802 | 89250.9124 | 19479.8529 | 37.2421 | 15.1823 | 21.2667 | 12.5406 | 218.9104 | 47.7793 | 218.9104 | 47.7793 | 15183.7947 | 5.92 | 10.0955 | 7.5472 | 36.6222 | 11.3708 | 12.1605 | 0.01452 | 0.024762 | 0.018511 | 0.089825 | 0.02789 | 0.029827
processed_bds_in_DENI03403000SEC4580 | DENILD1100000lgp | MFH | tabula_class_05_year_1960 | 725.8301 | 8 | 7 | 9682.0423 | 20235.045 | 9203.1844 | 131237.9361 | 28691.9656 | 59.1544 | 13.3393 | 27.8785 | 12.6795 | 180.8108 | 39.5299 | 180.8108 | 39.5299 | 42936.0317 | 8.9933 | 23.9057 | 10.7403 | 54.492 | 17.0848 | 33.7722 | 0.01239 | 0.032936 | 0.014797 | 0.075075 | 0.023538 | 0.046529
processed_bds_in_DENI03403000SEC4580 | DENILD1100000liC | MFH | tabula_class_05_year_1960 | 523.8764 | 0 | 3 | 3690.5976 | 9039.3008 | 3243.9993 | 109008.0915 | 25709.1876 | 44.816 | 7.0448 | 17.2546 | 6.1923 | 208.0798 | 49.0749 | 208.0798 | 49.0749 | 23478.0272 | 5.2653 | 13.4702 | 6.3861 | 44.0741 | 14.153 | 15.4959 | 0.010051 | 0.025713 | 0.01219 | 0.084131 | 0.027016 | 0.029579
processed_bds_in_DENI03403000SEC4580 | DENILD1100000lxm | MFH | tabula_class_05_year_1960 | 545.8662 | 0 | 3 | 3791.7771 | 7398.3346 | 3663.8861 | 112302.6466 | 26627.605 | 40.562 | 6.9463 | 13.5534 | 6.7121 | 205.7329 | 48.7805 | 205.7329 | 48.7805 | 22141.4257 | 4.3796 | 10.7031 | 8.9986 | 45.3798 | 14.6122 | 15.9972 | 0.0080232 | 0.019608 | 0.016485 | 0.083134 | 0.026769 | 0.029306
processed_bds_in_DENI03403000SEC4580 | DENILD1100000mMg | MFH | tabula_class_05_year_1960 | 485.298 | 4 | 3 | 5082.7852 | 9080.2189 | 4182.1045 | 102021.722 | 23212.5561 | 34.079 | 10.4735 | 18.7106 | 8.6176 | 210.2249 | 47.8316 | 210.2249 | 47.8316 | 16538.451 | 5.7742 | 11.381 | 7.1118 | 41.5696 | 13.1425 | 12.7619 | 0.011898 | 0.023452 | 0.014655 | 0.085658 | 0.027081 | 0.026297
processed_bds_in_DENI03403000SEC4580 | DENILD1100000mkc | MFH | tabula_class_05_year_1960 | 478.1681 | 0 | 4 | 5095.1633 | 10214.5059 | 4723.6903 | 100923.0003 | 22911.923 | 42.4288 | 10.6556 | 21.3617 | 9.8787 | 211.0618 | 47.916 | 211.0618 | 47.916 | 20288.1205 | 5.5258 | 11.9875 | 7.6924 | 41.1332 | 12.9906 | 13.4946 | 0.011556 | 0.02507 | 0.016087 | 0.086022 | 0.027167 | 0.028221
processed_bds_in_DENI03403000SEC4580 | DENILD1100000n2P | MFH | tabula_class_05_year_1960 | 513.1069 | 2 | 4 | 5162.4835 | 10976.6002 | 4615.9247 | 105707.613 | 23944.4537 | 66.4673 | 10.0612 | 21.3924 | 8.996 | 206.0148 | 46.6656 | 206.0148 | 46.6656 | 34104.8294 | 4.5651 | 13.1635 | 6.241 | 43.167 | 13.6331 | 28.3075 | 0.008897 | 0.025655 | 0.012163 | 0.084129 | 0.02657 | 0.055169
processed_bds_in_DENI03403000SEC4580 | DENILD1100000nGr | MFH | tabula_class_05_year_1960 | 596.5009 | 1 | 3 | 3772.2676 | 9680.0353 | 3508.5875 | 119471.1196 | 28503.2031 | 39.6288 | 6.324 | 16.228 | 5.8819 | 200.2866 | 47.784 | 200.2866 | 47.784 | 23638.6385 | 4.2977 | 14.2388 | 7.6924 | 48.2855 | 15.6085 | 17.6867 | 0.0072049 | 0.023871 | 0.012896 | 0.080948 | 0.026167 | 0.029651
processed_bds_in_DENI03403000SEC4580 | DENILD110000cxxD | MFH | tabula_class_05_year_1960 | 557.0328 | 2 | 2 | 2388.1261 | 7162.7054 | 2378.5721 | 114524.113 | 27538.0443 | 42.5453 | 4.2872 | 12.8587 | 4.2701 | 205.5967 | 49.437 | 205.5967 | 49.437 | 23699.1188 | 3.751 | 9.8036 | 6.1754 | 46.1245 | 14.9418 | 18.8016 | 0.0067339 | 0.0176 | 0.011086 | 0.082804 | 0.026824 | 0.033753
processed_bds_in_DENI03403000SEC4580 | DENILD1100000ipl | SFH | tabula_class_05_year_1960 | 411.0463 | 0 | 1 | 1490.6718 | 3108.7179 | 1009.2233 | 80851.4679 | 24282.6303 | 35.6321 | 3.6265 | 7.5629 | 2.4553 | 196.6968 | 59.0752 | 196.6968 | 59.0752 | 14646.4365 | 2.9632 | 5.2929 | 2.9028 | 29.7428 | 10.4886 | 11.4574 | 0.007209 | 0.012877 | 0.0070619 | 0.072359 | 0.025517 | 0.027874
processed_bds_in_DENI03403000SEC4580 | DENILD1100000jXA | SFH | tabula_class_05_year_1960 | 505.7501 | 3 | 1 | 3598.3032 | 5013.6501 | 3341.6778 | 96605.2342 | 29024.1766 | 37.4547 | 7.1148 | 9.9133 | 6.6074 | 191.0138 | 57.3884 | 191.0138 | 57.3884 | 18942.7417 | 4.9579 | 7.952 | 7.0392 | 35.5428 | 12.5552 | 14.6717 | 0.0098031 | 0.015723 | 0.013918 | 0.070277 | 0.024825 | 0.02901
processed_bds_in_DENI03403000SEC4580 | DENILD1100000jv8 | SFH | tabula_class_05_year_1960 | 388.528 | 0 | 1 | 1523.5067 | 2284.4882 | 1235.7125 | 76841.4031 | 22942.3801 | 45.9474 | 3.9212 | 5.8799 | 3.1805 | 197.7757 | 59.0495 | 197.7757 | 59.0495 | 17851.8364 | 3.1555 | 5.2975 | 2.9028 | 28.3152 | 9.9585 | 13.4723 | 0.0081217 | 0.013635 | 0.0074712 | 0.072878 | 0.025631 | 0.034675
processed_bds_in_DENI03403000SEC4580 | DENILD1100000kJz | SFH | tabula_class_05_year_1960 | 531.3317 | 0 | 1 | 1380.8549 | 3483.5504 | 1222.5049 | 102044.2147 | 31441.5293 | 33.5762 | 2.5989 | 6.5563 | 2.3008 | 192.0537 | 59.1749 | 192.0537 | 59.1749 | 17840.1079 | 1.9674 | 5.7396 | 4.209 | 37.2642 | 13.295 | 14.2301 | 0.0037028 | 0.010802 | 0.0079217 | 0.070134 | 0.025022 | 0.026782
processed_bds_in_DENI03403000SEC4580 | DENILD1100000lQq | SFH | tabula_class_05_year_1960 | 595.7097 | 9 | 1 | 4299.2516 | 5746.2854 | 4357.2146 | 110367.3514 | 32577.5971 | 38.7879 | 7.217 | 9.6461 | 7.3143 | 185.2704 | 54.687 | 185.2704 | 54.687 | 23106.3393 | 3.6201 | 6.3136 | 6.3861 | 40.8261 | 14.3445 | 21.3987 | 0.006077 | 0.010598 | 0.01072 | 0.068534 | 0.02408 | 0.035921
processed_bds_in_DENI03403000SEC4580 | DENILD1100000lTv | SFH | tabula_class_05_year_1960 | 390.1254 | 2 | 1 | 1846.2239 | 4540.5384 | 1817.6469 | 76493.9128 | 22455.1346 | 34.7921 | 4.7324 | 11.6387 | 4.6591 | 196.0752 | 57.5588 | 196.0752 | 57.5588 | 13573.2661 | 3.4529 | 5.5327 | 5.225 | 28.3273 | 9.899 | 10.9831 | 0.0088509 | 0.014182 | 0.013393 | 0.072611 | 0.025374 | 0.028153
processed_bds_in_DENI03403000SEC4580 | DENILD1100000lnj | SFH | tabula_class_05_year_1960 | 416.1787 | 6 | 1 | 4885.2015 | 6330.1967 | 4432.6142 | 79864.5406 | 22849.4836 | 37.2569 | 11.7382 | 15.2103 | 10.6507 | 191.8996 | 54.9031 | 191.8996 | 54.9031 | 15505.5474 | 5.0294 | 7.3156 | 6.749 | 29.7987 | 10.3174 | 12.3333 | 0.012085 | 0.017578 | 0.016216 | 0.071601 | 0.024791 | 0.029635
processed_bds_in_DENI03403000SEC4580 | DENILD1100000mqd | SFH | tabula_class_05_year_1960 | 324.8308 | 6 | 1 | 4575.3625 | 6050.6079 | 3709.9677 | 63529.482 | 17470.6881 | 50.3366 | 14.0854 | 18.627 | 11.4212 | 195.5772 | 53.784 | 195.5772 | 53.784 | 16350.8804 | 4.9357 | 7.5415 | 6.3861 | 23.9671 | 8.1574 | 10.8659 | 0.015195 | 0.023217 | 0.01966 | 0.073783 | 0.025113 | 0.033451
processed_bds_in_DENI03403000SEC4580 | DENILD1100000nCo | SFH | tabula_class_05_year_1960 | 370.0912 | 2 | 1 | 2584.1855 | 5300.5887 | 1866.849 | 72915.1049 | 21265.5109 | 39.7632 | 6.9826 | 14.3224 | 5.0443 | 197.0193 | 57.4602 | 197.0193 | 57.4602 | 14716.0121 | 3.1161 | 6.0777 | 4.7896 | 27.0515 | 9.426 | 10.8741 | 0.0084198 | 0.016422 | 0.012942 | 0.073094 | 0.025469 | 0.029382
processed_bds_in_DENI03403000SEC4580 | DENILD1100000nU6 | SFH | tabula_class_05_year_1960 | 548.407 | 2 | 1 | 2584.1855 | 5300.5887 | 1866.849 | 104383.7234 | 31855.2633 | 47.2863 | 4.7122 | 9.6654 | 3.4041 | 190.3399 | 58.0869 | 190.3399 | 58.0869 | 25932.1585 | 3.1161 | 6.0777 | 4.7896 | 38.23 | 13.5931 | 19.0322 | 0.0056821 | 0.011082 | 0.0087336 | 0.069711 | 0.024786 | 0.034705
processed_bds_in_DENI03403000SEC4580 | DENILD1100000ned | SFH | tabula_class_05_year_1960 | 448.5857 | 2 | 1 | 3788.0841 | 5958.3407 | 2600.2358 | 86867.1479 | 25926.5179 | 40.3447 | 8.4445 | 13.2825 | 5.7965 | 193.6467 | 57.7961 | 193.6467 | 57.7961 | 18098.0331 | 4.2137 | 6.4819 | 5.9507 | 32.0181 | 11.2714 | 13.4977 | 0.0093932 | 0.01445 | 0.013265 | 0.071376 | 0.025126 | 0.030089
processed_bds_in_DENI03403000SEC4580 | DENILD110000cxxT | SFH | tabula_class_05_year_1960 | 476.0871 | 1 | 1 | 1624.3418 | 3027.1196 | 1193.5497 | 92034.2668 | 27855.5543 | 82.4162 | 3.4119 | 6.3583 | 2.507 | 193.3139 | 58.5094 | 193.3139 | 58.5094 | 39237.2921 | 1.8389 | 5.1223 | 2.9028 | 33.7847 | 11.9622 | 28.9535 | 0.0038625 | 0.010759 | 0.0060972 | 0.070963 | 0.025126 | 0.060816