## buildings
ueu_case | building_id | tabula_building_type | construction_period | net_floor_area | number_of_residents | number_of_apartments | electricity_demand_abs_no_ev | electricity_demand_abs_yes_ev | dhw_heat_demand_abs | heating_demand_abs_no_refurbishment | heating_demand_abs_advanced_refurbishment | pv_potential_per_area_kwh_m2a | electricity_demand_per_area_no_ev_kwh_m2a | electricity_demand_per_area_yes_ev_kwh_m2a | dhw_heat_demand_per_area_kwh_m2a | heating_demand_per_area_no_refurbishment_kwh_m2a | heating_demand_per_area_advanced_refurbishment_kwh_m2a | yearly_heating_demand_per_area_no_refurbishment_kwh_m2a | yearly_heating_demand_per_area_advanced_refurbishment_kwh_m2a | pv_potential_abs | peak_electricity_abs_no_ev | peak_electricity_abs_yes_ev | peak_dhw_abs | peak_heating_abs_no_refurbishment | peak_heating_abs_advanced_refurbishment | peak_pv_potential_abs | peak_electricity_per_area_no_ev_kw_m2 | peak_electricity_per_area_yes_ev_kw_m2 | peak_dhw_per_area_kw_m2 | peak_heating_per_area_no_refurbishment_kw_m2 | peak_heating_per_area_advanced_refurbishment_kw_m2 | peak_pv_potential_per_area_kw_m2
processed_bds_in_DENI03403000SEC5101 | DENILD1100001NIr | MFH | tabula_class_02_year_1910 | 597.2593 | 4 | 3 | 5593.837 | 10075.5811 | 6272.6125 | 76243.8159 | 19034.3968 | 40.9934 | 9.3658 | 16.8697 | 10.5023 | 127.6561 | 31.8696 | 127.6561 | 31.8696 | 24483.6807 | 6.0887 | 10.4489 | 9.2163 | 30.0971 | 9.9136 | 17.2118 | 0.010194 | 0.017495 | 0.015431 | 0.050392 | 0.016598 | 0.028818
processed_bds_in_DENI03403000SEC5101 | DENILD1100001NQs | MFH | tabula_class_03_year_1930 | 585.0567 | 4 | 3 | 5696.0799 | 10614.223 | 5010.267 | 97946.4566 | 22305.1722 | 42.5087 | 9.7359 | 18.1422 | 8.5637 | 167.4136 | 38.1248 | 167.4136 | 38.1248 | 24869.9881 | 5.8099 | 13.5128 | 7.8375 | 37.8278 | 11.393 | 17.5721 | 0.0099306 | 0.023097 | 0.013396 | 0.064657 | 0.019473 | 0.030035
processed_bds_in_DENI03403000SEC5101 | DENILD1100001OKy | MFH | tabula_class_02_year_1910 | 748.7515 | 7 | 5 | 8335.5854 | 15662.1013 | 9801.8823 | 89142.5616 | 21768.2864 | 30.2691 | 11.1326 | 20.9176 | 13.091 | 119.0549 | 29.0728 | 119.0549 | 29.0728 | 22664.0606 | 7.4281 | 15.0092 | 11.0306 | 35.63 | 11.7449 | 16.6843 | 0.0099207 | 0.020046 | 0.014732 | 0.047586 | 0.015686 | 0.022283
processed_bds_in_DENI03403000SEC5101 | DENILD1100001OZx | MFH | tabula_class_02_year_1910 | 557.0805 | 4 | 3 | 5134.9971 | 9934.0452 | 6436.7646 | 71823.0833 | 17596.7415 | 22.7413 | 9.2177 | 17.8323 | 11.5545 | 128.9276 | 31.5874 | 128.9276 | 31.5874 | 12668.7471 | 5.4603 | 12.158 | 9.2163 | 28.4556 | 9.2773 | 10.7733 | 0.0098017 | 0.021824 | 0.016544 | 0.05108 | 0.016654 | 0.019339
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Of6 | MFH | tabula_class_05_year_1960 | 1606.2307 | 14 | 10 | 13388.5478 | 27799.3469 | 12797.7667 | 234396.8928 | 58330.828 | 22.6037 | 8.3354 | 17.3072 | 7.9676 | 145.9298 | 36.3153 | 145.9298 | 36.3153 | 36306.6971 | 11.4544 | 31.4931 | 13.9333 | 96.1599 | 32.4906 | 33.6235 | 0.0071312 | 0.019607 | 0.0086746 | 0.059867 | 0.020228 | 0.020933
processed_bds_in_DENI03403000SEC5101 | DENILD1100001OnP | MFH | tabula_class_02_year_1910 | 573.1974 | 4 | 3 | 5522.7235 | 9933.1806 | 5888.7927 | 73601.0692 | 18173.5231 | 27.0416 | 9.6349 | 17.3294 | 10.2736 | 128.4044 | 31.7055 | 128.4044 | 31.7055 | 15500.1806 | 5.3331 | 13.2569 | 8.9986 | 29.1162 | 9.5329 | 11.2409 | 0.0093041 | 0.023128 | 0.015699 | 0.050796 | 0.016631 | 0.019611
processed_bds_in_DENI03403000SEC5101 | DENILD1100001OqW | MFH | tabula_class_02_year_1910 | 666.6204 | 6 | 4 | 6303.6903 | 13009.5511 | 7614.349 | 81910.3835 | 20057.9519 | 32.3446 | 9.4562 | 19.5157 | 11.4223 | 122.8741 | 30.089 | 122.8741 | 30.089 | 21561.5795 | 5.9064 | 14.1292 | 11.1757 | 32.6114 | 10.7089 | 14.7115 | 0.0088601 | 0.021195 | 0.016765 | 0.04892 | 0.016064 | 0.022069
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Oqo | MFH | tabula_class_03_year_1930 | 646.0041 | 8 | 6 | 8751.0191 | 18471.1654 | 7778.2108 | 101460.4362 | 20915.8697 | 37.1223 | 13.5464 | 28.593 | 12.0405 | 157.0585 | 32.3773 | 157.0585 | 32.3773 | 23981.1609 | 6.8125 | 20.8991 | 9.7969 | 40.2021 | 11.684 | 18.0425 | 0.010546 | 0.032351 | 0.015165 | 0.062232 | 0.018087 | 0.027929
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Ow3 | MFH | tabula_class_02_year_1910 | 796.4781 | 8 | 6 | 9591.9926 | 17504.9788 | 8488.1576 | 92634.9815 | 22252.7711 | 43.72 | 12.043 | 21.978 | 10.6571 | 116.3057 | 27.939 | 116.3057 | 27.939 | 34822.0217 | 8.0826 | 16.2925 | 10.45 | 37.2617 | 12.2392 | 28.3864 | 0.010148 | 0.020456 | 0.01312 | 0.046783 | 0.015367 | 0.03564
processed_bds_in_DENI03403000SEC5101 | DENILD1100001PDA | MFH | tabula_class_02_year_1910 | 696.6298 | 6 | 4 | 6112.364 | 14235.8254 | 5337.4826 | 85138.4381 | 21126.0575 | 28.1658 | 8.7742 | 20.4353 | 7.6619 | 122.2147 | 30.3261 | 122.2147 | 30.3261 | 19621.1357 | 4.9434 | 17.928 | 9.8694 | 33.8063 | 11.1787 | 13.8419 | 0.0070962 | 0.025735 | 0.014167 | 0.048528 | 0.016047 | 0.01987
processed_bds_in_DENI03403000SEC5101 | DENILD1100001POw | MFH | tabula_class_05_year_1960 | 776.3275 | 8 | 6 | 8655.4596 | 18641.7818 | 10261.4646 | 139243.729 | 31560.5596 | 27.9098 | 11.1492 | 24.0128 | 13.218 | 179.3621 | 40.6537 | 179.3621 | 40.6537 | 21667.13 | 8.3794 | 21.3721 | 15.5299 | 57.3873 | 18.2749 | 16.1648 | 0.010794 | 0.02753 | 0.020004 | 0.073921 | 0.02354 | 0.020822
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Pbf | MFH | tabula_class_03_year_1930 | 408.1531 | 4 | 3 | 5398.6446 | 11243.4365 | 6316.8799 | 72600.1538 | 15155.7139 | 24.3193 | 13.227 | 27.5471 | 15.4767 | 177.8748 | 37.1324 | 177.8748 | 37.1324 | 9926.0092 | 4.6983 | 11.8371 | 9.5792 | 28.4666 | 8.2031 | 7.7353 | 0.011511 | 0.029002 | 0.02347 | 0.069745 | 0.020098 | 0.018952
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Q2F | MFH | tabula_class_02_year_1910 | 579.563 | 4 | 3 | 4811.6474 | 10691.4872 | 4451.192 | 74301.5549 | 18401.2883 | 27.6328 | 8.3022 | 18.4475 | 7.6803 | 128.2027 | 31.7503 | 128.2027 | 31.7503 | 16014.9408 | 4.7691 | 13.2614 | 8.4181 | 29.3763 | 9.6337 | 11.3158 | 0.0082288 | 0.022882 | 0.014525 | 0.050687 | 0.016622 | 0.019525
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Q5e | MFH | tabula_class_03_year_1930 | 440.2585 | 4 | 3 | 4835.747 | 11449.4389 | 4305.8354 | 77312.7811 | 16458.8893 | 41.5663 | 10.9839 | 26.0062 | 9.7802 | 175.6077 | 37.3846 | 175.6077 | 37.3846 | 18299.9047 | 4.5179 | 12.9961 | 6.6764 | 30.2134 | 8.7905 | 14.1688 | 0.010262 | 0.029519 | 0.015165 | 0.068626 | 0.019967 | 0.032183
processed_bds_in_DENI03403000SEC5101 | DENILD1100001QAW | MFH | tabula_class_03_year_1930 | 843.4852 | 5 | 5 | 6247.0971 | 14991.341 | 5952.9441 | 130191.4007 | 30430.1638 | 23.6836 | 7.4063 | 17.7731 | 7.0576 | 154.3494 | 36.0767 | 154.3494 | 36.0767 | 19976.7974 | 6.6495 | 18.0973 | 9.434 | 50.2625 | 15.4634 | 18.5004 | 0.0078834 | 0.021455 | 0.011185 | 0.059589 | 0.018333 | 0.021933
processed_bds_in_DENI03403000SEC5101 | DENILD1100001QDZ | MFH | tabula_class_02_year_1910 | 597.4922 | 4 | 4 | 5162.4835 | 10976.6002 | 4615.9247 | 75024.5534 | 18077.209 | 27.5263 | 8.6403 | 18.3711 | 7.7255 | 125.5657 | 30.2551 | 125.5657 | 30.2551 | 16446.7698 | 4.5651 | 13.1635 | 6.241 | 29.9202 | 9.7198 | 12.2362 | 0.0076405 | 0.022031 | 0.010445 | 0.050076 | 0.016268 | 0.020479
processed_bds_in_DENI03403000SEC5101 | DENILD1100001QDv | MFH | tabula_class_02_year_1910 | 716.7327 | 7 | 5 | 7862.4828 | 16281.9099 | 8353.8316 | 85732.4123 | 20632.88 | 36.0393 | 10.9699 | 22.7169 | 11.6554 | 119.6156 | 28.7874 | 119.6156 | 28.7874 | 25830.5318 | 6.7127 | 18.6791 | 11.3934 | 34.3688 | 11.2458 | 19.4036 | 0.0093657 | 0.026061 | 0.015896 | 0.047952 | 0.01569 | 0.027072
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Qn1 | MFH | tabula_class_02_year_1910 | 691.6138 | 6 | 5 | 8242.365 | 16347.3396 | 7051.8632 | 83354.8478 | 19982.3946 | 25.1994 | 11.9176 | 23.6365 | 10.1962 | 120.5222 | 28.8924 | 120.5222 | 28.8924 | 17428.275 | 6.4074 | 17.6502 | 9.2889 | 33.4202 | 10.9027 | 12.581 | 0.0092645 | 0.02552 | 0.013431 | 0.048322 | 0.015764 | 0.018191
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Qo2 | MFH | tabula_class_02_year_1910 | 592.2493 | 6 | 4 | 6155.9954 | 14535.7297 | 7013.3288 | 73831.9712 | 17410.5586 | 35.4213 | 10.3943 | 24.5433 | 11.8419 | 124.6637 | 29.3973 | 124.6637 | 29.3973 | 20978.2447 | 5.3786 | 16.1846 | 8.9986 | 29.6139 | 9.5382 | 14.1344 | 0.0090817 | 0.027327 | 0.015194 | 0.050002 | 0.016105 | 0.023866
processed_bds_in_DENI03403000SEC5101 | DENILD1100001QwZ | MFH | tabula_class_03_year_1930 | 635.6795 | 4 | 4 | 4931.1979 | 12878.7974 | 4741.5424 | 103727.5366 | 23366.6996 | 26.2814 | 7.7574 | 20.2599 | 7.459 | 163.1758 | 36.7586 | 163.1758 | 36.7586 | 16706.5421 | 4.0189 | 16.538 | 8.7083 | 40.226 | 12.0918 | 12.705 | 0.0063222 | 0.026016 | 0.013699 | 0.06328 | 0.019022 | 0.019986
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Qz7 | MFH | tabula_class_02_year_1910 | 528.3072 | 4 | 3 | 4811.6474 | 10691.4872 | 4451.192 | 68632.0321 | 16566.4276 | 26.5762 | 9.1077 | 20.2373 | 8.4254 | 129.9093 | 31.3576 | 129.9093 | 31.3576 | 14040.3847 | 4.7691 | 13.2614 | 8.4181 | 27.2685 | 8.8198 | 11.0491 | 0.0090271 | 0.025102 | 0.015934 | 0.051615 | 0.016694 | 0.020914
processed_bds_in_DENI03403000SEC5101 | DENILD1100001R07 | MFH | tabula_class_02_year_1910 | 663.8825 | 6 | 5 | 7011.8646 | 14726.1198 | 7376.3937 | 80373.5823 | 18998.5621 | 32.8403 | 10.5619 | 22.1818 | 11.111 | 121.066 | 28.6174 | 121.066 | 28.6174 | 21802.0779 | 9.0773 | 17.5141 | 10.0872 | 32.3152 | 10.4684 | 15.748 | 0.013673 | 0.026381 | 0.015194 | 0.048676 | 0.015768 | 0.023721
processed_bds_in_DENI03403000SEC5101 | DENILD1100001RIv | MFH | tabula_class_03_year_1930 | 457.3368 | 4 | 4 | 5323.7551 | 9884.1545 | 4672.3837 | 78583.9458 | 16207.8029 | 29.7926 | 11.6408 | 21.6124 | 10.2165 | 171.8295 | 35.4395 | 171.8295 | 35.4395 | 13625.2662 | 4.5799 | 10.6543 | 6.9667 | 30.9527 | 8.9051 | 10.3939 | 0.010014 | 0.023296 | 0.015233 | 0.06768 | 0.019472 | 0.022727
processed_bds_in_DENI03403000SEC5101 | DENILD1100001RN1 | MFH | tabula_class_03_year_1930 | 889.5398 | 7 | 6 | 8765.3614 | 17444.0475 | 7546.0611 | 134386.1433 | 30780.9042 | 41.9081 | 9.8538 | 19.6102 | 8.4831 | 151.0738 | 34.6032 | 151.0738 | 34.6032 | 37278.9037 | 7.3127 | 21.2067 | 10.45 | 52.2048 | 15.9598 | 29.2115 | 0.0082208 | 0.02384 | 0.011748 | 0.058687 | 0.017942 | 0.032839
processed_bds_in_DENI03403000SEC5101 | DENILD1100001RWG | MFH | tabula_class_02_year_1910 | 600.9138 | 6 | 4 | 7641.5866 | 13042.0539 | 7741.8535 | 74779.2588 | 17719.0275 | 19.5857 | 12.7166 | 21.7037 | 12.8835 | 124.4426 | 29.4868 | 124.4426 | 29.4868 | 11769.309 | 7.0143 | 13.2224 | 8.8535 | 29.966 | 9.6751 | 9.5299 | 0.011673 | 0.022004 | 0.014733 | 0.049867 | 0.016101 | 0.015859
processed_bds_in_DENI03403000SEC5101 | DENILD11000095Ln | MFH | tabula_class_02_year_1910 | 865.4093 | 6 | 5 | 8159.4205 | 17180.755 | 6815.7222 | 101747.4742 | 26149.5194 | 20.4156 | 9.4284 | 19.8528 | 7.8757 | 117.5715 | 30.2164 | 117.5715 | 30.2164 | 17667.8436 | 6.014 | 20.9897 | 10.5226 | 40.2103 | 13.6019 | 16.3621 | 0.0069493 | 0.024254 | 0.012159 | 0.046464 | 0.015717 | 0.018907
processed_bds_in_DENI03403000SEC5101 | DENILD1100001QHr | SFH | tabula_class_05_year_1960 | 350.8393 | 2 | 1 | 1367.1471 | 2949.1808 | 1390.1403 | 69462.9582 | 20122.3034 | 44.477 | 3.8968 | 8.4061 | 3.9623 | 197.9908 | 57.3548 | 197.9908 | 57.3548 | 15604.2782 | 2.1665 | 5.1648 | 3.4833 | 25.8196 | 8.9701 | 11.4731 | 0.0061753 | 0.014721 | 0.0099286 | 0.073594 | 0.025567 | 0.032702
processed_bds_in_DENI03403000SEC5101 | DENILD1100001Rql | SFH | tabula_class_05_year_1960 | 400.7665 | 6 | 1 | 4575.3625 | 6050.6079 | 3709.9677 | 77127.5227 | 21939.8174 | 46.2793 | 11.4165 | 15.0976 | 9.2572 | 192.45 | 54.7446 | 192.45 | 54.7446 | 18547.1873 | 4.9357 | 7.5415 | 6.3861 | 28.8236 | 9.9551 | 12.8415 | 0.012316 | 0.018818 | 0.015935 | 0.071921 | 0.02484 | 0.032042
processed_bds_in_DENI03403000SEC5101 | DENILD110000diyx | SFH | tabula_class_03_year_1930 | 397.512 | 2 | 1 | 2063.6669 | 3046.0425 | 2923.1698 | 74568.8792 | 17452.6049 | 39.8363 | 5.1915 | 7.6628 | 7.3537 | 187.589 | 43.9046 | 187.589 | 43.9046 | 15835.3923 | 2.5598 | 4.6028 | 6.241 | 28.1911 | 8.4378 | 14.6651 | 0.0064396 | 0.011579 | 0.0157 | 0.070919 | 0.021226 | 0.036892