## buildings
ueu_case | building_id | tabula_building_type | construction_period | net_floor_area | number_of_residents | number_of_apartments | electricity_demand_abs_no_ev | electricity_demand_abs_yes_ev | dhw_heat_demand_abs | heating_demand_abs_no_refurbishment | heating_demand_abs_advanced_refurbishment | pv_potential_per_area_kwh_m2a | electricity_demand_per_area_no_ev_kwh_m2a | electricity_demand_per_area_yes_ev_kwh_m2a | dhw_heat_demand_per_area_kwh_m2a | heating_demand_per_area_no_refurbishment_kwh_m2a | heating_demand_per_area_advanced_refurbishment_kwh_m2a | yearly_heating_demand_per_area_no_refurbishment_kwh_m2a | yearly_heating_demand_per_area_advanced_refurbishment_kwh_m2a | pv_potential_abs | peak_electricity_abs_no_ev | peak_electricity_abs_yes_ev | peak_dhw_abs | peak_heating_abs_no_refurbishment | peak_heating_abs_advanced_refurbishment | peak_pv_potential_abs | peak_electricity_per_area_no_ev_kw_m2 | peak_electricity_per_area_yes_ev_kw_m2 | peak_dhw_per_area_kw_m2 | peak_heating_per_area_no_refurbishment_kw_m2 | peak_heating_per_area_advanced_refurbishment_kw_m2 | peak_pv_potential_per_area_kw_m2
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rSr | MFH | tabula_class_05_year_1960 | 295.9977 | 6 | 3 | 7972.1629 | 14662.369 | 6550.626 | 70394.2349 | 14566.4955 | 55.4543 | 26.9332 | 49.5354 | 22.1307 | 237.8202 | 49.2115 | 237.8202 | 49.2115 | 16414.3353 | 5.9964 | 13.6429 | 8.7809 | 29.0931 | 8.8411 | 12.4681 | 0.020258 | 0.046091 | 0.029665 | 0.098288 | 0.029869 | 0.042122
processed_bds_in_DENI03403000SEC5658 | DENILD1100004s6k | MFH | tabula_class_08_year_1990 | 431.588 | 7 | 4 | 8991.3627 | 16212.3447 | 9872.3472 | 55151.4734 | 15579.1854 | 67.5622 | 20.8332 | 37.5644 | 22.8745 | 127.7873 | 36.0974 | 127.7873 | 36.0974 | 29159.0345 | 5.6744 | 15.229 | 13.2076 | 24.0912 | 9.3251 | 19.5875 | 0.013148 | 0.035286 | 0.030602 | 0.05582 | 0.021607 | 0.045385
processed_bds_in_DENI03403000SEC5658 | DENILD1100004slM | MFH | tabula_class_08_year_1990 | 414.6441 | 4 | 3 | 5184.4082 | 9080.2189 | 4311.5684 | 55378.7991 | 16466.4347 | 67.1672 | 12.5033 | 21.8988 | 10.3982 | 133.5574 | 39.7122 | 133.5574 | 39.7122 | 27850.4762 | 5.9477 | 11.381 | 7.8375 | 23.7173 | 9.3494 | 19.2549 | 0.014344 | 0.027448 | 0.018902 | 0.057199 | 0.022548 | 0.046437
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tBb | MFH | tabula_class_08_year_1990 | 402.743 | 3 | 2 | 4076.9708 | 3987.813 | 4333.2667 | 55562.7558 | 17126.4458 | 38.974 | 10.123 | 9.9016 | 10.7594 | 137.9608 | 42.5245 | 137.9608 | 42.5245 | 15696.4958 | 3.5993 | 4.724 | 7.9826 | 23.4535 | 9.3688 | 12.9125 | 0.0089369 | 0.01173 | 0.019821 | 0.058234 | 0.023262 | 0.032062
processed_bds_in_DENI03403000SEC5658 | DENILD1100004vDs | MFH | tabula_class_08_year_1990 | 444.961 | 5 | 3 | 7655.583 | 6056.6525 | 6190.7542 | 58168.4253 | 17421.3677 | 37.6608 | 17.2051 | 13.6116 | 13.913 | 130.727 | 39.1526 | 130.727 | 39.1526 | 16757.5697 | 9.1917 | 5.9061 | 9.942 | 24.9115 | 9.8705 | 14.2097 | 0.020657 | 0.013273 | 0.022344 | 0.055986 | 0.022183 | 0.031935
processed_bds_in_DENI03403000SEC5658 | DENILD1100004vNp | MFH | tabula_class_07_year_1980 | 345.5636 | 3 | 2 | 4506.2565 | 7039.1341 | 3591.3892 | 43715.0802 | 12933.5292 | 63.2866 | 13.0403 | 20.37 | 10.3928 | 126.5037 | 37.4273 | 126.5037 | 37.4273 | 21869.5277 | 4.2004 | 9.0402 | 6.8215 | 18.2082 | 7.031 | 14.4276 | 0.012155 | 0.026161 | 0.01974 | 0.052691 | 0.020347 | 0.041751
processed_bds_in_DENI03403000SEC5658 | DENILD1100004x5v | MFH | tabula_class_08_year_1990 | 385.2915 | 6 | 4 | 8928.1251 | 6577.4882 | 7630.5319 | 50697.1933 | 14008.3905 | 55.2731 | 23.1724 | 17.0715 | 19.8046 | 131.5814 | 36.3579 | 131.5814 | 36.3579 | 21296.246 | 7.8227 | 6.8357 | 10.958 | 22.2187 | 8.4965 | 15.7957 | 0.020303 | 0.017742 | 0.028441 | 0.057667 | 0.022052 | 0.040997
processed_bds_in_DENI03403000SEC5658 | DENILD1100004qZL | SFH | tabula_class_02_year_1910 | 227.9264 | 3 | 1 | 3691.2825 | 5530.441 | 3129.1944 | 47012.703 | 9954.03 | 62.0349 | 16.1951 | 24.2641 | 13.729 | 206.2626 | 43.6721 | 206.2626 | 43.6721 | 14139.3849 | 4.4261 | 4.9869 | 6.0958 | 17.6397 | 4.8809 | 11.0823 | 0.019419 | 0.02188 | 0.026745 | 0.077392 | 0.021414 | 0.048622
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rAk | SFH | tabula_class_05_year_1960 | 186.2339 | 2 | 1 | 2584.1855 | 3748.5012 | 1866.849 | 39216.839 | 10355.7753 | 46.6784 | 13.876 | 20.1279 | 10.0242 | 210.5784 | 55.6063 | 210.5784 | 55.6063 | 8693.1026 | 3.1161 | 3.6622 | 4.7896 | 14.9531 | 4.9913 | 8.0506 | 0.016732 | 0.019665 | 0.025718 | 0.080292 | 0.026801 | 0.043229
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rD3 | SFH | tabula_class_08_year_1990 | 257.2611 | 2 | 1 | 2876.4153 | 3975.8239 | 3115.6965 | 32224.6097 | 11793.8246 | 59.9792 | 11.1809 | 15.4544 | 12.111 | 125.2603 | 45.8438 | 125.2603 | 45.8438 | 15430.3124 | 3.5598 | 5.8881 | 8.8535 | 12.9677 | 5.7602 | 11.3809 | 0.013837 | 0.022888 | 0.034414 | 0.050407 | 0.022391 | 0.044239
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rEy | SFH | tabula_class_07_year_1980 | 246.7155 | 3 | 1 | 2555.8038 | 2433.0843 | 3000.7465 | 29140.709 | 8895.3005 | 48.3021 | 10.3593 | 9.8619 | 12.1628 | 118.1146 | 36.0549 | 118.1146 | 36.0549 | 11916.8875 | 2.3051 | 2.8875 | 6.9667 | 11.6534 | 4.5149 | 8.8533 | 0.0093431 | 0.011704 | 0.028238 | 0.047234 | 0.0183 | 0.035885
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rNW | SFH | tabula_class_05_year_1960 | 150.2561 | 2 | 1 | 2584.1855 | 5643.6323 | 1866.849 | 32335.67 | 8218.8873 | 46.3062 | 17.1985 | 37.5601 | 12.4244 | 215.2037 | 54.6992 | 215.2037 | 54.6992 | 6957.7945 | 3.1161 | 7.1849 | 4.7896 | 12.4554 | 4.0923 | 5.608 | 0.020739 | 0.047818 | 0.031876 | 0.082894 | 0.027235 | 0.037323
processed_bds_in_DENI03403000SEC5658 | DENILD1100004rqi | SFH | tabula_class_05_year_1960 | 167.5672 | 1 | 1 | 1457.017 | 1465.4459 | 1305.5388 | 35965.6298 | 9503.3824 | 56.8843 | 8.6951 | 8.7454 | 7.7911 | 214.634 | 56.7138 | 214.634 | 56.7138 | 9531.942 | 2.5338 | 2.5684 | 4.3858 | 13.7092 | 4.5752 | 8.8275 | 0.015121 | 0.015328 | 0.026174 | 0.081813 | 0.027304 | 0.05268
processed_bds_in_DENI03403000SEC5658 | DENILD1100004sV7 | SFH | tabula_class_05_year_1960 | 272.3688 | 4 | 1 | 2452.6367 | 4896.2147 | 3555.9028 | 54617.3351 | 14921.0587 | 54.3663 | 9.0048 | 17.9764 | 13.0555 | 200.5271 | 54.7826 | 200.5271 | 54.7826 | 14807.6936 | 2.901 | 5.1897 | 9.5792 | 20.6379 | 6.9973 | 12.5598 | 0.010651 | 0.019054 | 0.03517 | 0.075772 | 0.025691 | 0.046113
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tAY | SFH | tabula_class_05_year_1960 | 335.9496 | 4 | 1 | 2452.6367 | 5013.6501 | 3555.9028 | 66157.6081 | 18674.3125 | 74.2333 | 7.3006 | 14.9238 | 10.5846 | 196.9272 | 55.5867 | 196.9272 | 55.5867 | 24938.6494 | 2.901 | 7.952 | 9.5792 | 24.7734 | 8.5192 | 16.6782 | 0.0086352 | 0.02367 | 0.028514 | 0.073741 | 0.025359 | 0.049645
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tJR | SFH | tabula_class_07_year_1980 | 215.1983 | 2 | 1 | 3403.3908 | 1837.6979 | 2603.2837 | 26289.2162 | 7880.9441 | 129.1923 | 15.8151 | 8.5396 | 12.0971 | 122.1627 | 36.6218 | 122.1627 | 36.6218 | 27801.9622 | 4.354 | 2.9301 | 5.3701 | 10.519 | 4.0195 | 20.9113 | 0.020233 | 0.013616 | 0.024954 | 0.048881 | 0.018678 | 0.097172
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tVz | SFH | tabula_class_05_year_1960 | 148.9185 | 2 | 1 | 2876.4153 | 3697.0582 | 3115.6965 | 32076.9078 | 8139.3617 | 67.2804 | 19.3154 | 24.8261 | 20.9222 | 215.3991 | 54.6565 | 215.3991 | 54.6565 | 10019.2979 | 3.5598 | 4.2658 | 8.8535 | 12.3612 | 4.0585 | 6.7878 | 0.023904 | 0.028645 | 0.059452 | 0.083006 | 0.027253 | 0.045581
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tYJ | SFH | tabula_class_05_year_1960 | 245.0794 | 2 | 1 | 1846.2239 | 2590.8653 | 1817.6469 | 50215.9072 | 13845.8333 | 70.6256 | 7.5332 | 10.5715 | 7.4166 | 204.8965 | 56.4953 | 204.8965 | 56.4953 | 17308.8672 | 3.4529 | 3.4926 | 5.225 | 18.9225 | 6.4341 | 11.79 | 0.014089 | 0.014251 | 0.02132 | 0.07721 | 0.026253 | 0.048107
processed_bds_in_DENI03403000SEC5658 | DENILD1100004tss | SFH | tabula_class_07_year_1980 | 205.8202 | 3 | 1 | 3751.9302 | 3888.0967 | 2608.5813 | 25026.386 | 7259.9247 | 56.3985 | 18.2292 | 18.8907 | 12.6741 | 121.5934 | 35.2731 | 121.5934 | 35.2731 | 11607.9484 | 4.772 | 4.4777 | 5.6604 | 10.1148 | 3.807 | 8.5813 | 0.023185 | 0.021755 | 0.027502 | 0.049144 | 0.018497 | 0.041693
processed_bds_in_DENI03403000SEC5658 | DENILD1100004uKD | SFH | tabula_class_05_year_1960 | 323.8455 | 3 | 1 | 3691.2825 | 2822.2777 | 3129.1944 | 64286.492 | 18237.4307 | 67.7521 | 11.3983 | 8.7149 | 9.6626 | 198.5098 | 56.3152 | 198.5098 | 56.3152 | 21941.2061 | 4.4261 | 3.4162 | 6.0958 | 24.037 | 8.2796 | 15.4109 | 0.013667 | 0.010549 | 0.018823 | 0.074224 | 0.025567 | 0.047587
processed_bds_in_DENI03403000SEC5658 | DENILD1100004v91 | SFH | tabula_class_08_year_1990 | 210.5138 | 3 | 1 | 3751.9302 | 3976.1849 | 2608.5813 | 26893.2509 | 9344.3345 | 71.4788 | 17.8227 | 18.888 | 12.3915 | 127.7506 | 44.3882 | 127.7506 | 44.3882 | 15047.2802 | 4.772 | 4.7554 | 5.6604 | 11.0159 | 4.7637 | 10.6649 | 0.022668 | 0.02259 | 0.026889 | 0.052329 | 0.022629 | 0.050662
processed_bds_in_DENI03403000SEC5658 | DENILD1100004va8 | SFH | tabula_class_05_year_1960 | 197.8245 | 1 | 1 | 1457.017 | 1465.4459 | 1305.5388 | 41710.189 | 11305.3628 | 86.1334 | 7.3652 | 7.4078 | 6.5995 | 210.8444 | 57.1485 | 210.8444 | 57.1485 | 17039.297 | 2.5338 | 2.5684 | 4.3858 | 15.789 | 5.3262 | 11.4335 | 0.012808 | 0.012983 | 0.02217 | 0.079813 | 0.026924 | 0.057796
processed_bds_in_DENI03403000SEC5658 | DENILD1100004vpn | SFH | tabula_class_08_year_1990 | 422.1651 | 4 | 1 | 2452.6367 | 5013.6501 | 3555.9028 | 48524.8951 | 18951.7844 | 44.898 | 5.8097 | 11.876 | 8.423 | 114.9429 | 44.8919 | 114.9429 | 44.8919 | 18954.3587 | 2.901 | 7.952 | 9.5792 | 19.2164 | 8.8982 | 15.3386 | 0.0068717 | 0.018836 | 0.022691 | 0.045519 | 0.021078 | 0.036333
processed_bds_in_DENI03403000SEC5658 | DENILD1100004wGh | SFH | tabula_class_05_year_1960 | 192.7428 | 4 | 1 | 3598.3032 | 4300.7972 | 3341.6778 | 39842.3378 | 10229.862 | 56.728 | 18.6689 | 22.3137 | 17.3375 | 206.7125 | 53.0752 | 206.7125 | 53.0752 | 10933.9151 | 4.9579 | 3.4589 | 7.0392 | 15.3105 | 5.0555 | 9.0172 | 0.025723 | 0.017945 | 0.036521 | 0.079435 | 0.026229 | 0.046784
processed_bds_in_DENI03403000SEC5658 | DENILD1100004wSR | SFH | tabula_class_08_year_1990 | 312.0131 | 2 | 1 | 2876.4153 | 1837.6979 | 3115.6965 | 37963.0988 | 14357.9306 | 72.4216 | 9.2189 | 5.8898 | 9.9858 | 121.6715 | 46.0171 | 121.6715 | 46.0171 | 22596.502 | 3.5598 | 2.9301 | 8.8535 | 15.1282 | 6.8501 | 15.7287 | 0.011409 | 0.0093909 | 0.028375 | 0.048486 | 0.021954 | 0.05041
processed_bds_in_DENI03403000SEC5658 | DENILD1100004x3E | SFH | tabula_class_08_year_1990 | 200.9744 | 3 | 1 | 3751.9302 | 3584.8725 | 2608.5813 | 25849.2734 | 8894.9077 | 93.9567 | 18.6687 | 17.8375 | 12.9797 | 128.6197 | 44.2589 | 128.6197 | 44.2589 | 18882.8861 | 4.772 | 4.0809 | 5.6604 | 10.6186 | 4.5679 | 13.9482 | 0.023744 | 0.020305 | 0.028165 | 0.052836 | 0.022729 | 0.069403
processed_bds_in_DENI03403000SEC5658 | DENILD1100004xaP | SFH | tabula_class_07_year_1980 | 147.9063 | 2 | 1 | 1846.2239 | 3805.3213 | 1817.6469 | 19255.7007 | 5172.0132 | 50.7941 | 12.4824 | 25.7279 | 12.2892 | 130.1885 | 34.9682 | 130.1885 | 34.9682 | 7512.763 | 3.4529 | 3.6064 | 5.225 | 7.8746 | 2.8313 | 5.7481 | 0.023346 | 0.024383 | 0.035326 | 0.053241 | 0.019143 | 0.038863
processed_bds_in_DENI03403000SEC5658 | DENILD110000aBxf | SFH | tabula_class_05_year_1960 | 187.7775 | 2 | 1 | 1846.2239 | 2590.8653 | 1817.6469 | 39509.0604 | 10447.3694 | 49.3751 | 9.832 | 13.7975 | 9.6798 | 210.4035 | 55.6369 | 210.4035 | 55.6369 | 9271.5431 | 3.4529 | 3.4926 | 5.225 | 15.0589 | 5.0295 | 7.1417 | 0.018389 | 0.0186 | 0.027825 | 0.080195 | 0.026784 | 0.038033
processed_bds_in_DENI03403000SEC5658 | DENILD110000aBxh | SFH | tabula_class_07_year_1980 | 136.5098 | 2 | 1 | 2876.4153 | 1837.6979 | 3115.6965 | 18013.8055 | 4710.4178 | 61.3661 | 21.0711 | 13.462 | 22.824 | 131.9598 | 34.5061 | 131.9598 | 34.5061 | 8377.0747 | 3.5598 | 2.9301 | 8.8535 | 7.4046 | 2.6255 | 5.6757 | 0.026077 | 0.021464 | 0.064856 | 0.054242 | 0.019233 | 0.041577
processed_bds_in_DENI03403000SEC5658 | DENILD110000d9qH | SFH | tabula_class_05_year_1960 | 251.9883 | 2 | 1 | 1846.2239 | 2590.8653 | 1817.6469 | 51490.9356 | 14255.721 | 53.6759 | 7.3266 | 10.2817 | 7.2132 | 204.3386 | 56.5729 | 204.3386 | 56.5729 | 13525.7034 | 3.4529 | 3.4926 | 5.225 | 19.3812 | 6.6017 | 10.7088 | 0.013703 | 0.01386 | 0.020735 | 0.076913 | 0.026198 | 0.042497
processed_bds_in_DENI03403000SEC5658 | DENILD110000dtqB | SFH | tabula_class_05_year_1960 | 289.7695 | 4 | 1 | 3891.0801 | 3584.8725 | 4271.2198 | 57794.2598 | 15948.297 | 71.2593 | 13.4282 | 12.3715 | 14.7401 | 199.449 | 55.0379 | 199.449 | 55.0379 | 20648.7736 | 4.1286 | 4.0809 | 6.5312 | 21.7784 | 7.4159 | 14.0998 | 0.014248 | 0.014083 | 0.022539 | 0.075158 | 0.025593 | 0.048659